## AC_zdroj
Kurzy | EUR | 25.63 | USD | 22.871 | Cena | WWW | Země prodejce | LabVIEW ovladače | Výkon 1f | Výkon | Kč/ Watt | AC output | rozlišení | přesnost | stabilita | Frekvence | Proud při 230V | DC out | 3-fázový | Rack | Hmotnost
Značka |  | typ |  |  | [Kč] | prodejce |  |  | [W]/[VA] | [-] |  | [V] | [V] | [%] | [%] | [Hz] | [A] | [V] | [ANO/NE] | [ANO/NE] | [kg] |  | IEC testing
SophPower |  | AFC-120 | https://www.sophpower.com/content/afc100-series-ac-power-source |  | 18500 | https://www.alibaba.com/product-detail/AFC-120-adjustable-AC-Power-Source_60658389819.html | CHN | NE | 2000VA | 2000 | 9.25 | 0..300 | 0.1 |  |  |  | 8.4 | [8 empty] | https://www.alibaba.com/trade/search?IndexArea=product_en&CatId=&fsb=y&viewtype=&tab=&SearchText=AFC-120
DSC Electronics | https://dsc-electronics.com/ | DF-S5102 | https://dsc-electronics.com/products/ac-laboratory-power-supplies/df-s-series/ |  | 27424.1 |  | GER | NE, ale za 770 EUR vyvine | 2000VA | 2000 | 13.712 | 0…300Vrms | 0,1V | ±1% | ≤1% | 45..250 |  |  |  |  | 30
EXTECH |  | 380820 | http://www.extech.com/display/?id=14173 |  | 28745 | https://cz.mouser.com/ProductDetail/Extech/380820?qs=3TPl%2Fapuqqp2asYyKGhZ7Q%3D%3D | CZE | Ne, pouze ovl. SW | 2000W | 2000 | 14.3725 | 80..250V | 0.1V |  |  | 45..65Hz | 10 |  |  |  | 9.9
Preen | http://www.preenpower.com/ | AFV-P-1250 |  |  | 68613 | https://www.inteproate.com/news/64-intepro-s-new-programmable-ac-power-source-includes-dc-output-capability | USA | ANO | 1250VA/1000W | 1000 | 68.613 | 0..310 | 0.1 |  |  | 40..500 | 5 | 420V |  |  | 20 |  |  | umí i DC |  |  |  | https://www.valuetronics.com/product/afv-p-1250b-preen-ac-source-new
SophPower |  | LFC-120 (low noise, high stability) | https://www.sophpower.com/content/9 |  | 69702 | https://www.alibaba.com/trade/search?fsb=y&IndexArea=product_en&CatId=&SearchText=lfc-120 | CHN | NE | 2000VA | 2000 | 34.851
GW INSTEK |  | APS-7100 (ne 7100E) | https://www.gwinstek.com/en-global/products/detail/APS-7000 |  | 73644.2 | https://www.tme.eu/cz/details/aps-7100/programovatelne-napajeci-zdroje/gw-instek/ | CZE | ANO | 1000VA | 1000 | 73.6442 | 0..310Vrms | 0,1V |  |  | 45..500 | 8.4 |  |  |  | 38 | [5 empty] | 69272.87 | http://www.mercateo.cz/p/2806-APS(2d)7100/Napajeci_zdroj_laboratorni_programovatelny_AC_0_310V_8_4A.html
APS | https://adaptivepower.com/ | CFS116 (jako APT 7016) | https://adaptivepower.com/products/ac-ac-sources/cfs100-series/ |  | 78684.1 | https://www.caltest-instruments.com/products/ac-power-source-cfs100-series.aspx | GER | ANO, po přihlášení | 1600VA | 1600 | 49.1776 | 5..300 | 0.1 |  |  | 40..500 | 9.2 | 400V/800W |  |  | 30.8 | https://tr.adaptivepower.com/resources.asp
California |  | California 1503L-3P (použitý) |  |  | 80000 | http://www.tectra.cz/bazar-kalibracni-techniky#california | CZE | NE | 556VA | 1667 | 47.9904 | 270V | 0.1 | 1V |  | 45..5000 |  |  |  |  | 38.3
Elettrotest |  | Elettrotest CPS/M/2500 | http://www.elettrotestspa.it/it/prodotti_dettaglio.php?CPS%20monofase&id=20&idp=42 |  | 86900 | https://www.meatest.com/cs/produkty-levne-regulovatelne-ac-zdroje-cps-m-1f-detail-222 | CZE | ANO | 2500VA | 2500 | 34.76 | 0..300 | 0.02 | <0,5% | <0,1% | 10..80 | 8,3A/300V | ANO | NE | 4U | 20 |  |  |  | https://www.datatec.de/Netzgeraete/AC-Quellen/CPS/M/2500-Netzgeraet-AC-1-phasig-300v/8-3A-2500VA
ITECH |  | IT7324 (BK Precission OEM) |  |  | 89900 | https://www.itechcanada.ca/products/ac-source/it7300-series/it7324/ | CAN | ANO | 1500VA | 1500 | 59.9333
APM | http://enpps.apmtech.cn/ | SP300VAC-1500W Advanced | http://enpps.apmtech.cn/html/product/json2/cc1/q2/2018/1217/184.html |  | 101751.1 | https://www.caltest.de/produkte/ac-dc-quelle-sp300vac-serie.aspx | GER | ANO | 1500W/VA | 1500 | 67.8341 | 0..424 | 0,1V |  |  | 15..1000 | 6.9 |  |  |  | 15.9 | http://enpps.apmtech.cn/html/service/down/json4/list_29_2.html
APS |  | CPS100 (stejné jako APM) | https://adaptivepower.com/products/ac-ac-sources/cps100-series-ac-and-dc-power-sources/ |  |  |  | CZE | ANO, po přihlášení |  |  | #VALUE!
Elettrotest |  | Elettrotest TPS/M/1500 |  |  | 102648.15 | https://www.meatest.com/cs/produkty-levne-regulovatelne-ac-zdroje-tps-m-1f-detail-218?tabs=Ke%20sta%C5%BEen%C3%AD | CZE | ANO |  | 1500 | 68.4321 | [13 empty] | https://www.datatec.de/Netzgeraete/AC-Quellen/TPS/M/1500-Netzgeraet-AC-1-phasig-300V/9-3A/1500VA/10-80Hz
APT | https://www.aptsources.com/products/ac-power-sources-7000/ | 7016 (jako APS CFS116) | http://go.aptsources.com/rs/414-IRJ-976/images/7000Series-ProductPages.pdf |  | 119931 | http://www.teste.cz/serie-7000-ac-zdroje | CZE | ANO | 1600VA (2000VA) | 1600 | 74.9569 | 5..300 | 0.1 |  |  | 47..500 | 9.2 |  |  |  | 30 |  | https://www.aptsources.com/instrument-drivers/
EEC |  | 6620 (AC + DC) | https://www.eecextech.com/products/6600-programmable-ac-power-source/ |  |  |  |  | ANO | 2000VA | 2000 | 0 | [10 empty] | https://www.eecextech.com/support/download-center/drivers-software/
|  | 6720 (jen AC) - 90kg low-noise | https://www.eecextech.com/products/6700-series-linear-programmable-ac-power-sourceower-source/ |  |  |  |  | ANO | 2000VA | 2000 | 0 | [10 empty] | https://www.eecextech.com/support/download-center/drivers-software/
Preen | http://www.preenpower.com/ | AFV-P-2500 | http://www.preenpower.com/download/Manual/AFV-P%20Series%20User%20Manual_V1.05.03EN.pdf |  | 99900 | https://www.inteproate.com/news/64-intepro-s-new-programmable-ac-power-source-includes-dc-output-capability |  | ANO | 2500VA/2000W | 2000 | 49.95 | 0..310 | 0.1 |  |  | 40..500 |  | 420V | [5 empty] | umí i DC |  |  |  | https://www.valuetronics.com/product/afv-p-2500b-preen-ac-source-new
BK Precission |  | BK9805 | https://www.bkprecision.com/products/power-supplies/9805-programmable-ac-power-source-1500-va.html#galleryLargeModal |  | 121500 | http://www.mericitechnika.cz/programovatelny-ac-zdroj-bk-precision-bk9805 |  | ANO | 1500VA | 1500 | 81 | 0..300 | 0.1 |  |  | 45..500 | 6 |  |  |  | 52 |  |  |  |  | 133395 | https://cz.mouser.com/ProductDetail/BK-Precision/9805?qs=%2Fha2pyFadujCIYuUpTP8LY1btXe3bJ7Kap3elsea42o%3D | 121563 | https://www.digikey.cz/product-detail/en/b-k-precision/9805/BK9805-ND/5719109?cur=CZK&lang=en | 115335 | https://www.distrelec.cz/cs/ac-napajeci-zdroj-300-30-programovatelny-precision-bk9805/p/30115377 | 115560 | https://cz.farnell.com/b-k-precision/bk9805/ac-power-supply-1ch-300vrms-6a/dp/2532615
Ametek |  | AST1501A1B-A | https://www.powerandtest.com/power/ac-power-sources/asterion-ac |  | 136555.2 |  |  | ANO | 1500 VA/ 1500 W | 1500 | 91.0368 | 0..400 | 0.02 V |  |  | LF option: DC, and 16 Hz to 550 Hz; | 2,5*3 A at 200 VAC v 1f modu | X |  | 1U | 10 |  | https://www.powerandtest.com/power/ac-power-sources/asterion-ac
|  | AST1503A1B-A |  |  | 223300.8 | http://www.teste.cz/california-instruments-serie-asterion |  | ANO | 1500 VA/ 1500 W | 1500 | 148.8672 | 0..400 | 0.02 V |  |  | Standard models: DC, and 16 Hz to 1.2 kHz; | 2,5*3 A at 200 VAC v 1f modu | 0-500 V | 1f/3f | 2U
|  | Compact iX Series 2253i | https://www.powerandtest.com/power/ac-power-sources/compact-ix-series |  | x |  |  | ANO | 2250 | 2250 | #VALUE! | 0..300 | 0.1 |  |  | 16..1000 | 9.75 |  |  | 2U | 26
|  | CW 1251 P | https://www.powerandtest.com/power/ac-power-sources/cw-series |  | x |  |  | ANO | 1250VA | 1250 | #VALUE! | 0..270 | 0.1 |  |  | 45..500 | 4,7/270V | X |  | 2U | 24 |  |  |  |  | https://www.ebay.com/sch/i.html?_from=R40&_trksid=m570.l1313&_nkw=elgar+CW+1251+P&_sacat=0&LH_TitleDesc=0&_osacat=0&_odkw=CW+1251+P
|  | CW 2501 P |  |  | x |  |  | ANO | 2500VA | 2500 | #VALUE! | 0..270 | 0.1 |  |  | 45..500 | 9,3/270V | X |  | 3U | 39
|  | RP series 2001RP | https://www.powerandtest.com/power/ac-power-sources/rp-series |  | x |  |  | ANO | 2000VA | 2000 | #VALUE! | 0..300 | 0.1 |  |  | 16..5000 | 6.7/300V | X |  | 2U | 30
Keysight |  | 6813C | https://www.keysight.com/en/pdx-2869782-pn-6813C/performance-ac-power-source-1750-va-300-v-13-a?nid=-32114.1230548&cc=CZ&lc=eng |  | 298632 | https://cz.farnell.com/keysight-technologies/6813c/ac-power-source-analyzer-1750/dp/2768696?ost=6813C&ddkey=https%3Acz-CZ%2FElement14_Czech_Republic%2Fsearch |  | ANO | 1750VA | 1750 | 170.6469
Chroma |  | Chroma 61603 |  |  | 150000 |  |  | ANO | 1500VA | 1500 | 100 | [11 empty] | IEC61000-4-11, IEC61000-4-13, IEC61000-4-14 and IEC61000-4-28. |  | https://www.ebay.com/sch/i.html?_from=R40&_trksid=m570.l1313&_nkw=Chroma+61603&_sacat=0
Kikusui | https://www.kikusui.co.jp/en/product/selection.php?Category=AC%20Power%20Supplies%20(AC%20Power%20Source) | PCR2000MA | https://www.kikusui.co.jp/en/product/detail.php?IdFamily=0144 |  | 165000 | http://www.trinstruments.cz/napajeci-zdroj-kikusui-pcr2000ma |  | ANO | 2000VA | 2000 | 82.5 | [10 empty] | https://www.kikusui.co.jp/en/download/en/?fn=pcr-le_IVI |  | https://www.google.com/search?q=Kikusui |  | https://www.telonic.co.uk/Kikusui-PCR2000MA-AC-Power-Supply-p/pcr2000ma.htm
|  | PCR2000LE | https://www.kikusui.co.jp/en/product/detail.php?IdFamily=0117 |  | 290000 | http://www.trinstruments.cz/napajeci-zdroj-kikusui-pcr2000le |  |  | 2000VA | 2000 | 145 | [14 empty] | https://www.telonic.co.uk/Kikusui-PCR2000LE-AC-Power-Supplies-p/pcr2000le.htm
Teseq | https://www.teseq.com/products/NSG-1007.php | NSG 1007-3 |  |  | >200 000 | Teste |  |  |  |  | #VALUE!
Acsoon |  | ACSW | http://www.acsoonpower.com/t157.htm
https://www.lisungroup.com/products/ac-and-dc-power-supply/
Note on Y2: Autor: IEC 61000-4-11, IEC 61000-4-13, IEC 61000-4-14 and IEC 61000-4-28 power immunity testing. Harmonics measurements and programmable output impedance are supported on enhanced models as well.
Note on R4: Autor: stability ≤0,01%
Note on K5: Autor: 2000W